## DATA
WIND total hourly maximum output capability of 20MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 1094 | 825 | 756 | 756 | 800 | 839 | 910 | 1001 | 1036 | 975 | 817 | 601 | 648 | 662 | 946 | 1119 | 1415 | 1941 | 2473 | 3106 | 3343 | 3350 | 3178 | 3283
2022-12-15 | 3048 | 2995 | 3128 | 3250 | 3135 | 3114 | 3180 | 3222 | 3346 | 3619 | 3797 | 3945 | 3824 | 3736 | 3663 | 3718 | 3675 | 3691 | 3805 | 3912 | 4030 | 4119 | 4167 | 4190
2022-12-16 | 4233 | 4272 | 4251 | 4159 | 4192 | 4240 | 4193 | 4100 | 3989 | 3815 | 3850 | 3936 | 4095 | 4173 | 4173 | 4304 | 4354 | 4279 | 4178 | 4218 | 4166 | 4127 | 4173 | 4302
2022-12-17 | 4346 | 4336 | 4270 | 3813 | 3503 | 3449 | 3400 | 3352 | 3140 | 2854 | 2488 | 2193 | 1963 | 1683 | 1330 | 979 | 811 | 641 | 563 | 586 | 654 | 658 | 627 | 531
2022-12-18 | 544 | 680 | 715 | 880 | 1014 | 1089 | 1036 | 997 | 1098 | 797 | 759 | 703 | 759 | 763 | 953 | 938 | 929 | 1014 | 1075 | 1167 | 1217 | 1315 | 1381 | 1378
2022-12-19 | 1274 | 1111 | 1065 | 1156 | 1220 | 1175 | 1053 | 915 | 795 | 640 | 517 | 434 | 418 | 399 | 302 | 267 | 214 | 277 | 309 | 385 | 607 | 785 | 981 | 1283
2022-12-20 | 1553 | 1501 | 2043 | 2152 | 2391 | 2283 | 2745 | 3520 | 3520 | 3930 | 4033 | 4129 | 4276 | 4268 | 4206 | 4170 | 3529 | 4160 | 4269 | 3970 | 3176 | 2433 | 2606 | 1716
2022-12-21 | 1081 | 1207 | 675 | 869 | 902 | 675 | 379 | 215 | 148 | 182 | 270 | 411 | 589 | 591 | 658 | 841 | 1336 | 1983 | 2501 | 3139 | 3644 | 3955 | 4085 | 4241
2022-12-22 | 3878 | 3301 | 3090 | 3293 | 3764 | 4052 | 4162 | 4211 | 4097 | 3999 | 4030 | 3782 | 3817 | 3624 | 3334 | 3294 | 3127 | 2912 | 2573 | 2289 | 2012 | 1694 | 1389 | 1144
2022-12-23 | 922 | 782 | 788 | 688 | 561 | 483 | 407 | 478 | 590 | 862 | 1438 | 2095 | 2260 | 2231 | 2216 | 2311 | 2536 | 2775 | 2775 | 2279 | 2022 | 1806 | 1580 | 1338
SOLAR total hourly maximum output capability of 20MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 34 | 109 | 181 | 254 | 271 | 241 | 157 | 50 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 15 | 21 | 23 | 32 | 24 | 21 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 18 | 31 | 29 | 27 | 29 | 20 | 16 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 33 | 99 | 165 | 199 | 237 | 195 | 107 | 45 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 8 | 13 | 13 | 9 | 8 | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 48 | 110 | 163 | 155 | 157 | 120 | 59 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 18 | 45 | 68 | 84 | 92 | 82 | 67 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 33 | 118 | 122 | 131 | 115 | 113 | 75 | 32 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-22 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 4 | 22 | 142 | 168 | 170 | 138 | 138 | 79 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-12-23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 17 | 59 | 76 | 103 | 101 | 79 | 53 | 26 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ref: | Source : https://www.ieso.ca/en/Power-Data/Data-Directory#Generator-Output-and-Capability | [7 empty] | Ontario, Canada
V2G total hourly Max Discharge capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-15 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-16 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-17 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-18 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-19 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-20 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-21 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-22 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-23 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
ref: | https://site.ieee.org/pes-iss/data-sets/
https://www.gecad.isep.ipp.pt/Ies2/Electric%20Vehicles/EVs_cases_1800%20EVs%20for%2033%20bus%20MV%20distribution%20network.xlsx
https://bit.ly/3K7q4ER
BESS total hourly Max Discharge capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-15 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-16 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-17 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-18 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-19 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-20 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-21 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-22 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-23 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
ref: | https://www.pea.co.th/Webapplications/tor/Attachments/f06c6ae2-40d6-4aae-9e92-e5f6acbe320b/Book%203%20BESS%20_W.pdf
ESS total hourly Max Discharge capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-15 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-16 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-17 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-18 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-19 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-20 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-21 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-22 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-23 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
ref: | An optimal scheduling model of an energy storage system with a photovoltaic system in residential buildings considering the economic and environmental aspects

## DATA_Edit
WIND total hourly maximum output capability of 1MW or greater | [24 empty] | (all) GRID total hourly maximum output capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 1.094 | 0.825 | 0.756 | 0.756 | 0.8 | 0.839 | 0.91 | 1.001 | 1.036 | 0.975 | 0.817 | 0.601 | 0.648 | 0.662 | 0.946 | 1.119 | 1.415 | 1.941 | 2.473 | 3.106 | 3.343 | 3.35 | 3.178 | 3.283 | 2022-12-14 | 10.386 | 10.415 | 10.484 | 10.416 | 10.166 | 10.079 | 9.739 | 10.008 | 9.772 | 9.421 | 9.333 | 9.097 | 9.179 | 9.092 | 9.085 | 9.021 | 8.86 | 8.836 | 8.729 | 8.735 | 8.859 | 8.898 | 9.029 | 9.145
2022-12-15 | 3.048 | 2.995 | 3.128 | 0.325 | 3.135 | 3.114 | 3.18 | 3.222 | 3.346 | 3.619 | 3.797 | 3.945 | 3.824 | 3.736 | 3.663 | 3.718 | 3.675 | 3.691 | 3.805 | 3.912 | 4.03 | 4.119 | 4.167 | 4.19 | 2022-12-15 | 8.994 | 9.061 | 9.156 | 9.316 | 9.408 | 9.486 | 9.487 | 9.835 | 9.927 | 9.997 | 10.153 | 10.295 | 10.427 | 10.504 | 10.563 | 10.625 | 10.67 | 10.42 | 10.372 | 10.341 | 10.293 | 10.191 | 10.138 | 10.076
2022-12-16 | 4.233 | 4.272 | 4.251 | 4.159 | 4.192 | 4.24 | 4.193 | 4.1 | 3.989 | 3.815 | 3.85 | 3.936 | 4.095 | 4.173 | 4.173 | 4.304 | 4.354 | 4.279 | 4.178 | 4.218 | 4.166 | 4.127 | 4.173 | 4.302 | 2022-12-16 | 10.189 | 10.161 | 10.183 | 10.127 | 10.099 | 10.085 | 10.038 | 10.222 | 10.201 | 10.219 | 10.286 | 10.319 | 10.355 | 10.378 | 10.313 | 10.336 | 10.25 | 9.897 | 9.743 | 9.841 | 9.923 | 10.073 | 10.206 | 10.321
2022-12-17 | 4.346 | 4.336 | 0.427 | 3.813 | 3.503 | 3.449 | 3.4 | 3.352 | 3.14 | 2.854 | 2.488 | 2.193 | 1.963 | 1.683 | 1.33 | 0.979 | 0.811 | 0.641 | 0.563 | 0.586 | 0.654 | 0.658 | 0.627 | 0.531 | 2022-12-17 | 10.261 | 10.346 | 10.301 | 10.186 | 10.133 | 10.023 | 9.871 | 10.028 | 10.183 | 9.953 | 9.955 | 9.951 | 9.969 | 9.969 | 9.969 | 9.969 | 9.652 | 9.419 | 9.425 | 9.425 | 9.425 | 9.425 | 9.432 | 9.445
2022-12-18 | 0.544 | 0.68 | 0.715 | 0.88 | 1.014 | 1.089 | 1.036 | 0.997 | 1.098 | 0.797 | 0.759 | 0.703 | 0.759 | 0.763 | 0.953 | 0.938 | 0.929 | 1.014 | 1.075 | 1.167 | 1.217 | 1.315 | 1.381 | 1.378 | 2022-12-18 | 9.448 | 9.448 | 9.448 | 9.448 | 9.533 | 9.724 | 9.881 | 10.233 | 10.33 | 10.374 | 10.344 | 10.261 | 10.097 | 10.09 | 10.045 | 9.957 | 9.856 | 9.473 | 9.514 | 9.514 | 9.514 | 9.514 | 9.424 | 9.437
2022-12-19 | 1.274 | 1.111 | 1.065 | 1.156 | 1.22 | 1.175 | 1.053 | 0.915 | 0.795 | 0.64 | 0.517 | 0.434 | 0.418 | 0.399 | 0.302 | 0.267 | 0.214 | 0.277 | 0.309 | 0.385 | 0.607 | 0.785 | 0.981 | 1.283 | 2022-12-19 | 9.447 | 9.447 | 9.447 | 9.504 | 9.504 | 9.504 | 9.496 | 9.802 | 9.844 | 9.984 | 9.978 | 9.978 | 9.974 | 9.928 | 9.933 | 9.798 | 9.778 | 9.536 | 9.439 | 9.439 | 9.442 | 9.443 | 9.449 | 9.462
2022-12-20 | 1.553 | 1.501 | 2.043 | 2.152 | 2.391 | 2.283 | 2.745 | 3.52 | 3.52 | 3.93 | 4.033 | 4.129 | 4.276 | 4.268 | 4.206 | 4.17 | 3.529 | 4.16 | 4.269 | 3.97 | 3.176 | 2.433 | 2.606 | 1.716 | 2022-12-20 | 9.121 | 9.121 | 9.121 | 9.174 | 9.277 | 9.375 | 9.45 | 9.5 | 9.567 | 9.775 | 9.828 | 9.853 | 9.885 | 9.911 | 9.925 | 9.799 | 9.858 | 9.799 | 9.818 | 9.838 | 9.846 | 9.835 | 9.83 | 9.819
2022-12-21 | 1.081 | 1.207 | 0.675 | 0.869 | 0.902 | 0.675 | 0.379 | 0.215 | 0.148 | 0.182 | 0.27 | 0.411 | 0.589 | 0.591 | 0.658 | 0.841 | 1.336 | 1.983 | 2.501 | 3.139 | 3.644 | 3.955 | 4.085 | 4.241 | 2022-12-21 | 9.779 | 9.767 | 9.744 | 9.702 | 9.666 | 9.611 | 9.531 | 9.379 | 9.328 | 9.172 | 9.098 | 9.098 | 9.058 | 9.058 | 9.058 | 8.996 | 8.865 | 8.823 | 8.733 | 8.733 | 8.733 | 8.733 | 8.74 | 8.753
2022-12-22 | 3.878 | 3.301 | 3.09 | 3.293 | 3.764 | 4.052 | 4.162 | 4.211 | 4.097 | 3.999 | 4.03 | 3.782 | 3.817 | 3.624 | 3.334 | 3.294 | 3.127 | 2.912 | 2.573 | 2.289 | 2.012 | 1.694 | 1.389 | 1.144 | 2022-12-22 | 8.764 | 8.764 | 8.764 | 8.764 | 8.764 | 8.764 | 8.764 | 8.757 | 8.852 | 8.852 | 8.846 | 8.846 | 8.846 | 8.846 | 8.846 | 8.846 | 8.846 | 8.846 | 8.757 | 8.757 | 8.757 | 8.757 | 8.764 | 8.764
2022-12-23 | 0.922 | 0.782 | 0.788 | 0.688 | 0.561 | 0.483 | 0.407 | 0.478 | 0.59 | 0.862 | 1.438 | 2.095 | 2.26 | 2.231 | 2.216 | 2.311 | 2.536 | 2.775 | 2.775 | 2.279 | 2.022 | 1.806 | 1.58 | 1.338 | 2022-12-23 | 8.765 | 8.765 | 8.765 | 8.765 | 8.765 | 8.765 | 8.765 | 8.759 | 8.76 | 8.76 | 8.753 | 8.753 | 8.753 | 8.753 | 8.753 | 8.753 | 8.753 | 8.753 | 8.759 | 8.759 | 8.759 | 8.758 | 8.765 | 8.765
SOLAR total hourly maximum output capability of 1MW or greater | [24 empty] | GRID total hourly maximum output capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0.34 | 1.09 | 1.81 | 2.54 | 2.71 | 2.41 | 1.57 | 0.5 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-14 | 9.292 | 9.59 | 9.728 | 9.66 | 9.366 | 9.24 | 8.829 | 9.007 | 8.736 | 8.446 | 8.516 | 8.496 | 8.531 | 8.43 | 8.139 | 7.902 | 7.445 | 6.895 | 6.256 | 5.629 | 5.516 | 5.548 | 5.851 | 5.862
2022-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0.03 | 0.15 | 0.21 | 0.23 | 0.32 | 0.24 | 0.21 | 0.12 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-15 | 5.946 | 6.066 | 6.028 | 8.991 | 6.273 | 6.372 | 6.307 | 6.613 | 6.581 | 6.378 | 6.356 | 6.35 | 6.603 | 6.768 | 6.9 | 6.907 | 6.995 | 6.729 | 6.567 | 6.429 | 6.263 | 6.072 | 5.971 | 5.886
2022-12-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.01 | 0.18 | 0.31 | 0.29 | 0.27 | 0.29 | 0.2 | 0.16 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-16 | 5.956 | 5.889 | 5.932 | 5.968 | 5.907 | 5.845 | 5.845 | 6.122 | 6.212 | 6.404 | 6.436 | 6.383 | 6.26 | 6.205 | 6.14 | 6.032 | 5.896 | 5.618 | 5.565 | 5.623 | 5.757 | 5.946 | 6.033 | 6.019
2022-12-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.33 | 0.99 | 1.65 | 1.99 | 2.37 | 1.95 | 1.07 | 0.45 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-17 | 5.915 | 6.01 | 9.874 | 6.373 | 6.63 | 6.574 | 6.471 | 6.676 | 7.043 | 7.099 | 7.467 | 7.758 | 8.006 | 8.286 | 8.639 | 8.99 | 8.841 | 8.778 | 8.862 | 8.839 | 8.771 | 8.767 | 8.805 | 8.914
2022-12-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.04 | 0.08 | 0.13 | 0.13 | 0.09 | 0.08 | 0.05 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-18 | 8.904 | 8.768 | 8.733 | 8.568 | 8.519 | 8.635 | 8.845 | 9.236 | 9.232 | 9.577 | 9.585 | 9.558 | 9.338 | 9.327 | 9.092 | 9.019 | 8.927 | 8.459 | 8.439 | 8.347 | 8.297 | 8.199 | 8.043 | 8.059
2022-12-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.09 | 0.48 | 1.1 | 1.63 | 1.55 | 1.57 | 1.2 | 0.59 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-19 | 8.173 | 8.336 | 8.382 | 8.348 | 8.284 | 8.329 | 8.443 | 8.887 | 9.049 | 9.344 | 9.461 | 9.544 | 9.556 | 9.529 | 9.631 | 9.531 | 9.564 | 9.259 | 9.13 | 9.054 | 8.835 | 8.658 | 8.468 | 8.179
2022-12-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.05 | 0.18 | 0.45 | 0.68 | 0.84 | 0.92 | 0.82 | 0.67 | 0.11 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-20 | 7.568 | 7.62 | 7.078 | 7.022 | 6.886 | 7.092 | 6.705 | 5.98 | 6.047 | 5.845 | 5.795 | 5.724 | 5.609 | 5.643 | 5.719 | 5.629 | 6.329 | 5.639 | 5.549 | 5.868 | 6.67 | 7.402 | 7.224 | 8.103
2022-12-21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0.33 | 1.18 | 1.22 | 1.31 | 1.15 | 1.13 | 0.75 | 0.32 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-21 | 8.698 | 8.56 | 9.069 | 8.833 | 8.764 | 8.936 | 9.152 | 9.164 | 9.18 | 8.99 | 8.828 | 8.687 | 8.469 | 8.467 | 8.4 | 8.155 | 7.529 | 6.84 | 6.232 | 5.594 | 5.089 | 4.778 | 4.655 | 4.512
2022-12-22 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0.04 | 0.22 | 1.42 | 1.68 | 1.7 | 1.38 | 1.38 | 0.79 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-22 | 4.886 | 5.463 | 5.674 | 5.471 | 5 | 4.712 | 4.602 | 4.546 | 4.755 | 4.853 | 4.816 | 5.064 | 5.029 | 5.222 | 5.512 | 5.552 | 5.719 | 5.934 | 6.184 | 6.468 | 6.745 | 7.063 | 7.375 | 7.62
2022-12-23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0.17 | 0.59 | 0.76 | 1.03 | 1.01 | 0.79 | 0.53 | 0.26 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022-12-23 | 7.843 | 7.983 | 7.977 | 8.077 | 8.204 | 8.282 | 8.358 | 8.281 | 8.17 | 7.898 | 7.315 | 6.658 | 6.493 | 6.522 | 6.537 | 6.442 | 6.217 | 5.978 | 5.984 | 6.48 | 6.737 | 6.952 | 7.185 | 7.427
ref: | Source : https://www.ieso.ca/en/Power-Data/Data-Directory#Generator-Output-and-Capability | [7 empty] | Ontario, Canada
V2G total hourly Max Discharge capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-15 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-16 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-17 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-18 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-19 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-20 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-21 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-22 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-23 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
ref: | https://site.ieee.org/pes-iss/data-sets/
https://www.gecad.isep.ipp.pt/Ies2/Electric%20Vehicles/EVs_cases_1800%20EVs%20for%2033%20bus%20MV%20distribution%20network.xlsx
https://bit.ly/3K7q4ER
BESS total hourly Max Discharge capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-15 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-16 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-17 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-18 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-19 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-20 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-21 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-22 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
2022-12-23 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
ref: | https://www.pea.co.th/Webapplications/tor/Attachments/f06c6ae2-40d6-4aae-9e92-e5f6acbe320b/Book%203%20BESS%20_W.pdf
ESS total hourly Max Discharge capability of 1MW or greater
Hours | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022-12-14 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-15 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-16 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-17 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-18 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-19 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-20 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-21 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-22 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
2022-12-23 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003
ref: | An optimal scheduling model of an energy storage system with a photovoltaic system in residential buildings considering the economic and environmental aspects